{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Tabelle1","lamb","DN wandel"],"not_rendered":{"macros":1,"external_links":1,"defined_names":3},"unopened":[{"sheet":"lamb","index":1,"reason":"not_a_worksheet"},{"sheet":"DN wandel","index":2,"reason":"not_a_worksheet"}],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Tabelle1","index":0,"n_rows":75,"n_cols":38,"rows_kept":75,"flags":["formulas_cached_only"]}
["Formblatt 1a",{"$nulls":4},"Ermittlung der Rohrdurchmesser",{"$nulls":21},"Anzahl","Fgh","Fgdwh","Fgrh","Fguwh"]
[{"$nulls":8},"Differenziertes Verfahren",{"$nulls":18},1,0.621,1,1,1,null,"stahl",0.5]
["Verteilungsleitungen:",{"$nulls":3},"Dpzul <=0,3 mbar",{"$nulls":12},"Rohrart :",{"$nulls":9},2,0.448,0.607,0.8,0.883]
["Verbrauchsleitungen:",{"$nulls":3},"Dpzul <=0,8 mbar",{"$nulls":22},3,0.371,0.456,0.703,0.822]
["Steigleitungen:",{"$nulls":3},"Dpzul <=0,0 mbar",null," ( 1. u. 2. Gasfamilie )",{"$nulls":20},4,0.325,0.373,0.641,0.782]
["Abzweig und Geräte-",{"$nulls":26},5,0.294,0.32,0.597,0.752]
["anschlußleitungen:",{"$nulls":3},"Dpzul <=0,5 mbar",{"$nulls":22},6,0.271,0.283,0.564,0.729]
[null,1,2,null,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,{"$nulls":8},7,0.253,0.255,0.537,0.71]
[null,"TS","Geräte- art  ","An- zahl","SVA  Geräte- art","fG  Geräte-  art","3*4","VS","l","DN","v","R","R*l","Sz","Z","DH","DpH","DpTs","Kontrolle SDpTs <= Dpzul",{"$nulls":8},8,0.239,0.234,0.515,0.694]
[null,"-","-","-","m³/h","-","m³/h","m³/h","m","-","m/s","mbar/m","mbar","-","mbar","m","mbar","mbar",{"$nulls":9},9,0.227,0.217,0.496,0.68,null,"di","reynold","lambda"]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},10,0.217,0.202,0.48,0.668,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},11,0.208,0.191,0.466,0.657,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},12,0.201,0.18,0.454,0.648,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},13,0.194,0.172,0.443,0.639,null,0,0,0,null,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},14,0.188,0.164,0.432,0.631,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},15,0.183,0.157,0.423,0.624,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},16,0.178,0.151,0.415,0.617,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},17,0.173,0.146,0.407,0.611,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},18,0.169,0.141,0.4,0.605,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},19,0.166,0.137,0.394,0.599,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},20,0.162,0.133,0.387,0.594,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},21,0.159,0.129,0.382,0.59,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},22,0.156,0.125,0.376,0.585,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},23,0.153,0.122,0.371,0.581,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},24,0.151,0.119,0.366,0.577,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},25,0.148,0.117,0.362,0.573,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},26,0.146,0.114,0.357,0.569,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},27,0.144,0.112,0.353,0.566,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},28,0.142,0.11,0.349,0.562,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},29,0.14,0.108,0.346,0.559,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},30,0.138,0.106,0.342,0.556,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},31,0.136,0.104,0.339,0.553,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},32,0.134,0.102,0.336,0.55,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},33,0.133,0.1,0.332,0.547,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},34,0.131,0.099,0.329,0.545,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},35,0.13,0.097,0.327,0.542,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},36,0.128,0.096,0.324,0.54,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},37,0.127,0.095,0.321,0.537,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},38,0.126,0.093,0.319,0.535,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},39,0.125,0.092,0.316,0.533,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},40,0.123,0.091,0.314,0.53,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},41,0.122,0.09,0.311,0.528,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},42,0.121,0.089,0.309,0.526,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},43,0.12,0.088,0.307,0.524,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},44,0.119,0.087,0.305,0.522,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},45,0.118,0.086,0.303,0.52,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},46,0.117,0.085,0.301,0.518,null,0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},47,0.116,0.084,0.299,0.517,null,0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":9},48,0.115,0.083,0.299,0.515,null,0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":20},49,0.114,0.082,0.295,0.513,null,0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":20},50,0.114,0.082,0.293,0.512,null,0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":15},0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":15},0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":15},0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":15},0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"H:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"DWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"RH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]
[null,null,"UWH:",null,null,{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.000"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.000"},null,{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"$nulls":15},0,0,0]
[{"$nulls":6},{"v":0,"d":"0.00"},{"$nulls":26},0,0,0]